# APPENDIX 2

# Building maintenance checklist for (insert name of your museum here)

External building checklist

|  | Frequency | Checked by | Problem found | Action taken | Date checked | Next check due |
| --- | --- | --- | --- | --- | --- | --- |
| Guttering / downpipes for leaks, blockages & evidence of overflow |  |  |  |  |  |  |
| Surface water drains for blockages / obstructions |  |  |  |  |  |  |
| Rising main / hydrant servicing & check |  |  |  |  |  |  |
| Rubbish disposal, check of site & procedures |  |  |  |  |  |  |

Internal building checklist

|  | Frequency | Checked by | Problem found | Action taken | Date checked | Next check due |
| --- | --- | --- | --- | --- | --- | --- |
| Water pipe systems for leaks / inadequate lagging |  |  |  |  |  |  |
| Function & accessibility of stop valves (all systems) |  |  |  |  |  |  |
| Function & accessibility of all down drain points |  |  |  |  |  |  |
| Cellars / basements / roof spaces for evidence of water penetration |  |  |  |  |  |  |
| Function of internal drains / sewers for blockages / obstructions |  |  |  |  |  |  |
| Function & accessibility of circuit breakers |  |  |  |  |  |  |
| Test of electrical circuits |  |  |  |  |  |  |

Internal building checklist, continued

|  | Frequency | Checked by | Problem found | Action taken | Date checked | Next check due |
| --- | --- | --- | --- | --- | --- | --- |
| Maintenance/check air-conditioning plant (including check of duct fire-shutters |  |  |  |  |  |  |
| Fire alarm/emergency lighting servicing & check fire exits are clear & working |  |  |  |  |  |  |
| Fire-fighting equipment (including sprinklers) servicing & check |  |  |  |  |  |  |
| Security systems (intruder alarms/CCTV) servicing & check |  |  |  |  |  |  |
| Check windows & doors are secure & there are no signs of forced entry |  |  |  |  |  |  |
| Electrical appliances servicing & check |  |  |  |  |  |  |
| Gas appliances servicing & check |  |  |  |  |  |  |
| Heating systems servicing & check |  |  |  |  |  |  |

Taken from ‘Be prepared: Emergency planning toolkit for museums’ (Norfolk Museums & Archaeology Service/ Renaissance East of England, December 2008)